## Sheet1
|  | https://plotdigitizer.com/app | [5 empty] | reflected power by antenna = power reflected by antenna [mW] - power reflected by test set[mW]
return loss (dB) = 10log(power reflected by antenna [mW]) - power reaching antenna [dBm]
Termination | 50 Ohm | [7 empty] | Lilygo | [7 empty] | Lynx | [7 empty] | Rockland
| Frequency (MHz) | Power (-dBm) |  | Average | Std Dev | Return Loss (dB) | VSWR |  | Frequency (MHz) | Power (-dBm) |  |  | Average | Std Dev | Return Loss (dB) | VSWR | Frequency (MHz) | Power (-dBm) |  |  | Average | Std Dev | Return Loss (dB) | VSWR | Frequency (MHz) | Power (-dBm) |  |  | Average | Std Dev | Return Loss (dB) | VSWR
| 900 | -13.2475 | -10.8549 | -12.0512 | 1.6919 |  |  |  | 900 | -10.146 | -9.7561 | -11.498 | -10.4667 | 0.91414 | -13.2223 | 1.5582 | 900 | -10.7611 | -10.998 | -10.9587 | -10.906 | 0.12694 | -14.8633 | 1.441 | 900 | -8.4624 | -11.5881 | -12.3835 | -10.8113 | 2.0727 | -14.4691 | 1.4662
| 901 | -11.4851 | -11.6501 | -11.5676 | 0.11664 |  |  |  | 901 | -10.0892 | -10.5813 | -10.7895 | -10.4867 | 0.35957 | -14.3264 | 1.4758 | 901 | -11.0729 | -11.3955 | -10.4211 | -10.9632 | 0.49642 | -17.0966 | 1.3247 | 901 | -11.7589 | -11.1903 | -10.0767 | -11.0086 | 0.85567 | -17.4596 | 1.3094
| 902 | -12.1188 | -12.1471 | -12.133 | 0.020015 |  |  |  | 902 | -10.288 | -9.8699 | -10.5628 | -10.2402 | 0.34888 | -12.023 | 1.6685 | 902 | -11.413 | -11.9351 | -10.3812 | -11.2431 | 0.79074 | -15.8288 | 1.3856 | 902 | -12.0369 | -10.6733 | -11.8068 | -11.5057 | 0.72997 | -17.4824 | 1.3085
| 903 | -12.5149 | -12.4851 | -12.5 | 0.021045 |  |  |  | 903 | -10.856 | -9.6707 | -11.1012 | -10.5426 | 0.76499 | -11.9313 | 1.678 | 903 | -12.3765 | -10.856 | -12.3727 | -11.8684 | 0.87678 | -17.5395 | 1.3061 | 903 | -11.2227 | -12.7415 | -11.6477 | -11.8706 | 0.78354 | -17.556 | 1.3055
| 904 | -11.703 | -12.9423 | -12.3227 | 0.87637 |  |  |  | 904 | -10.3448 | -10.8374 | -9.7692 | -10.3172 | 0.53462 | -11.5961 | 1.7142 | 904 | -10.9879 | -10.998 | -12.3926 | -11.4595 | 0.80813 | -15.8599 | 1.384 | 904 | -11.1433 | -12.4631 | -12.0057 | -11.8707 | 0.67018 | -18.8804 | 1.2567
| 905 | -11.4059 | -11.6899 | -11.5479 | 0.20076 |  |  |  | 905 | -9.9189 | -10.6098 | -10.6194 | -10.3827 | 0.40171 | -13.4397 | 1.5407 | 905 | -11.1862 | -10.9128 | -11.1579 | -11.0856 | 0.15037 | -17.8173 | 1.2951 | 905 | -12.2553 | -12.5426 | -11.0114 | -11.9364 | 0.81391 | #NUM! | 1.2924
| 906 | -10.7723 | -11.2724 | -11.0223 | 0.35362 |  |  |  | 906 | -10.6004 | -10.4959 | -11.9231 | -11.0065 | 0.79552 | -32.0336 | 1.6851 | 906 | -10.9028 | -11.6795 | -11.5562 | -11.3795 | 0.41739 | #NUM! | 1.4414 | 906 | -9.7532 | -10.196 | -11.6875 | -10.5456 | 1.0134 | -17.0181 | 1.3282
| 907 | -11.8218 | -12.7237 | -12.2727 | 0.63772 |  |  |  | 907 | -10.0041 | -10.0122 | -10.166 | -10.0607 | 0.091235 | -10.6576 | 1.8295 | 907 | -11.2996 | -10.4868 | -10.66 | -10.8155 | 0.42811 | -12.8739 | 1.5878 | 907 | -12.3546 | -10.9716 | -11.5085 | -11.6116 | 0.69724 | -16.7204 | 1.3416
| 908 | -11.5842 | -10.994 | -11.2891 | 0.41728 |  |  |  | 908 | -11.1968 | -10.5244 | -9.9676 | -10.5629 | 0.61548 | -15.3091 | 1.4143 | 908 | -10.5628 | -10.3448 | -11.0384 | -10.6487 | 0.35468 | -15.8988 | 1.3819 | 908 | -12.4142 | -11.608 | -11.4688 | -11.8303 | 0.51043 | #NUM! | 1.246
| 909 | -11.6238 | -12.0875 | -11.8556 | 0.32789 |  |  |  | 909 | -10.4016 | -10.4959 | -10.9028 | -10.6001 | 0.26636 | -13.1307 | 1.5658 | 909 | -10.251 | -10.2028 | -10.8393 | -10.431 | 0.35435 | -12.493 | 1.6224 | 909 | -11.4809 | -12.0852 | -11.5682 | -11.7114 | 0.32666 | -23.0997 | 1.1505
| 910 | -11.0099 | -12.6839 | -11.8469 | 1.1837 |  |  |  | 910 | -10.1176 | -11.1504 | -10.7045 | -10.6575 | 0.51798 | -13.2657 | 1.5547 | 910 | -10.4777 | -10.8844 | -10.66 | -10.674 | 0.20369 | -13.3352 | 1.5491 | 910 | -10.905 | -10.3551 | -12.0057 | -11.0886 | 0.84047 | -15.4441 | 1.4066
| 911 | -11.5644 | -10.8748 | -11.2196 | 0.48762 |  |  |  | 911 | -10.0609 | -9.7561 | -10.7611 | -10.1927 | 0.51533 | -13.5266 | 1.5339 | 911 | -9.9393 | -10.5152 | -10.1422 | -10.1989 | 0.29212 | -13.5562 | 1.5316 | 911 | -11.6397 | -11.9858 | -10.7131 | -11.4462 | 0.65806 | #NUM! | 1.3611
| 912 | -10.7327 | -11.9682 | -11.3504 | 0.87364 |  |  |  | 912 | -10.3164 | -9.8984 | -10.4494 | -10.2214 | 0.28754 | -13.0069 | 1.5763 | 912 | -10.7045 | -11.0548 | -11.1579 | -10.9724 | 0.23768 | -18.1447 | 1.2826 | 912 | -10.7064 | -10.4943 | -11.4886 | -10.8964 | 0.5237 | -17.3113 | 1.3156
| 913 | -11.2673 | -11.5109 | -11.3891 | 0.17226 |  |  |  | 913 | -10.4016 | -10.1829 | -10.0243 | -10.2029 | 0.18946 | -12.5494 | 1.6171 | 913 | -10.5911 | -11.14 | -10.0427 | -10.5912 | 0.54864 | -14.473 | 1.4659 | 913 | -10.5872 | -11.0312 | -11.2699 | -10.9628 | 0.34644 | -17.385 | 1.3125
| 914 | -11.8218 | -11.4314 | -11.6266 | 0.27603 |  |  |  | 914 | -9.7769 | -9.6138 | -9.5992 | -9.6633 | 0.098635 | -10.4117 | 1.8636 | 914 | -11.498 | -10.146 | -9.6444 | -10.4295 | 0.95875 | -12.9665 | 1.5798 | 914 | -10.5277 | -11.8665 | -10.6534 | -11.0158 | 0.73934 | -16.1926 | 1.3669
| 915 | -11.4257 | -11.4314 | -11.4286 | 0.0040086 |  |  |  | 915 | -9.3225 | -9.5285 | -10.1377 | -9.6629 | 0.42387 | -10.6877 | 1.8255 | 915 | -11.583 | -10.43 | -10.6799 | -10.8977 | 0.60654 | -16.5511 | 1.3495 | 915 | -11.6794 | -11.0114 | -10.2358 | -10.9755 | 0.72249 | -17.2796 | 1.3169
| 916 | -10.0792 | -11.7495 | -10.9144 | 1.1811 |  |  |  | 916 | -8.9249 | -9.6138 | -8.9757 | -9.1715 | 0.38391 | -10.3476 | 1.8728 | 916 | -10.2794 | -11.14 | -9.6842 | -10.3678 | 0.7319 | -16.0086 | 1.3762 | 916 | -10.8057 | -10.3551 | -10.2159 | -10.4589 | 0.30828 | -16.8466 | 1.3358
| 917 | -12.198 | -11.2922 | -11.7451 | 0.64048 |  |  |  | 917 | -8.783 | -9.1016 | -9.1741 | -9.0196 | 0.20808 | -8.8562 | 2.1286 | 917 | -10.8462 | -10.3732 | -9.2859 | -10.1684 | 0.80002 | -11.855 | 1.6861 | 917 | -11.1035 | -10.3551 | -10.9517 | -10.8035 | 0.39563 | -14.4263 | 1.469
| 918 | -12.2574 | -10.9543 | -11.6059 | 0.92147 |  |  |  | 918 | -8.6126 | -9.0732 | -9.004 | -8.8966 | 0.24839 | -8.182 | 2.2779 | 918 | -10.0526 | -9.9757 | -9.8037 | -9.944 | 0.12745 | -10.872 | 1.8012 | 918 | -10.9844 | -11.4091 | -11.6278 | -11.3404 | 0.32717 | -19.5628 | 1.235
| 919 | -11.3267 | -11.1332 | -11.23 | 0.13685 |  |  |  | 919 | -9.6917 | -8.8455 | -9.3441 | -9.2938 | 0.42532 | -9.6 | 1.9901 | 919 | -10.166 | -10.3732 | -10.1024 | -10.2139 | 0.14161 | -12.8862 | 1.5867 | 919 | -10.4681 | -12.0256 | -11.1506 | -11.2147 | 0.78072 | -31.6399 | 1.0538
| 920 | -10.4356 | -11.9881 | -11.2119 | 1.0977 |  |  |  | 920 | -9.0101 | -9.0163 | -9.6559 | -9.2274 | 0.37106 | -9.6545 | 1.9809 | 920 | -11.0162 | -11.3671 | -10.6999 | -11.0277 | 0.33379 | -20.9172 | 1.1977 | 920 | -10.4879 | -11.767 | -10.9716 | -11.0755 | 0.64585 | -22.2465 | 1.1673
| 921 | -13.5842 | -11.6103 | -12.5972 | 1.3957 |  |  |  | 921 | -10.714 | -9.1585 | -9.5992 | -9.8239 | 0.80171 | -9.0426 | 2.0916 | 921 | -11.5263 | -10.4016 | -10.8193 | -10.9158 | 0.56851 | -11.8081 | 1.6911 | 921 | -11.2426 | -12.0057 | -12.6222 | -11.9568 | 0.6911 | -16.5438 | 1.3498
| 922 | -10.5149 | -13.2803 | -11.8976 | 1.9555 |  |  |  | 922 | -11.0264 | -9.7846 | -11.1862 | -10.6657 | 0.76729 | -12.6778 | 1.6053 | 922 | -11.1579 | -10.714 | -10.8193 | -10.8971 | 0.23193 | -13.7018 | 1.5205 | 922 | -10.8851 | -10.6534 | -11.7869 | -11.1085 | 0.59887 | -14.842 | 1.4423
| 923 | -12.3564 | -13.0219 | -12.6892 | 0.47053 |  |  |  | 923 | -10.572 | -10.5813 | -11.3846 | -10.846 | 0.4665 | -11.0043 | 1.7843 | 923 | -11.2713 | -11.5375 | -10.8592 | -11.2227 | 0.34178 | -12.1974 | 1.6509 | 923 | -11.6 | -12.2045 | -10.7528 | -11.5191 | 0.72922 | -13.334 | 1.5492
| 924 | -11.0693 | -12.5646 | -11.817 | 1.0573 |  |  |  | 924 | -10.4868 | -11.6626 | -9.8259 | -10.6584 | 0.9303 | -12.3783 | 1.6333 | 924 | -11.4413 | -11.9067 | -11.596 | -11.648 | 0.23701 | -21.2469 | 1.1897 | 924 | -12.7319 | -11.2102 | -11.9659 | -11.9694 | 0.76085 | #NUM! | 1.4
| 925 | -11.0693 | -12.2266 | -11.648 | 0.81836 |  |  |  | 925 | -10.7424 | -11.5203 | -12.1215 | -11.4614 | 0.69142 | -20.9559 | 1.1968 | 925 | -11.8381 | -11.2535 | -10.8193 | -11.3037 | 0.5112 | -18.2152 | 1.28 | 925 | -12.0766 | -13.5767 | -12.642 | -12.7651 | 0.75759 | #NUM! | 1.35
| 926 | -13.1485 | -11.5905 | -12.3695 | 1.1017 |  |  |  | 926 | -10.998 | -11.3496 | -10.4211 | -10.9229 | 0.4688 | -12.0068 | 1.6702 | 926 | -11.0729 | -11.8499 | -12.7112 | -11.878 | 0.81954 | -17.1906 | 1.3207 | 926 | -11.7986 | -12.0256 | -11.8267 | -11.8836 | 0.12373 | -17.2434 | 1.3184
| 927 | -12.8911 | -12.8628 | -12.877 | 0.019987 |  |  |  | 927 | -11.1968 | -10.4959 | -10.4211 | -10.7046 | 0.42788 | -10.7522 | 1.8169 | 927 | -11.2146 | -12.8154 | -12.8307 | -12.2869 | 0.9287 | -17.2457 | 1.3183 | 927 | -12.8908 | -13.4375 | -13.8352 | -13.3878 | 0.47418 | #NUM!
| 928 | -12.099 | -13.3201 | -12.7095 | 0.86343 |  |  |  | 928 | -11.6795 | -11.1789 | -10.5628 | -11.1404 | 0.55937 | -11.9555 | 1.6755 | 928 | -12.7449 | -11.9635 | -12.2532 | -12.3205 | 0.39505 | -18.625 | 1.2654 | 928 | -13.2681 | -12.6818 | -13.9545 | -13.3015 | 0.63702 | #NUM!
| No Test Equipment, straight into the test set | [7 empty] | Through test equipment
| Frequency (MHz) | Power (-dBm) |  | Average | Std Dev | Return Loss (dB) | VSWR |  | Frequency (MHz) | Power (-dBm) |  |  | Average | Std Dev | Return Loss (dB) | VSWR
| 900 | 5.2359 | 5.3532 | 5.2946 | 0.082981 |  |  |  | 900 | -2.2583 | -2.7375 | -2.1788 | -2.3915 | 0.30227
| 901 | 5.3156 | 5.0945 | 5.2051 | 0.15633 |  |  |  | 901 | -2.8543 | -2.7973 | -2.5364 | -2.7294 | 0.16949
| 902 | 4.9369 | 4.9353 | 4.9361 | 0.0010986 |  |  |  | 902 | -2.4967 | -3.0166 | -2.6954 | -2.7362 | 0.26236
| 903 | 5.1561 | 4.9751 | 5.0656 | 0.128 |  |  |  | 903 | -2.6954 | -3.1362 | -3.2119 | -3.0145 | 0.27896
| 904 | 5.0365 | 4.7562 | 4.8964 | 0.19822 |  |  |  | 904 | -3.1126 | -3.0365 | -2.9735 | -3.0409 | 0.069638
| 905 | 4.8771 | 4.9353 | 4.9062 | 0.041187 |  |  |  | 905 | -3.0132 | -3.0565 | -3.6093 | -3.2263 | 0.33234
| 906 | 4.7575 | 4.8557 | 4.8066 | 0.069471 |  |  |  | 906 | -3.7881 | -2.897 | -3.3907 | -3.3586 | 0.4464
| 907 | 4.9169 | 4.6965 | 4.8067 | 0.15586 |  |  |  | 907 | -3.4106 | -3.495 | -3.2715 | -3.3924 | 0.11285
| 908 | 4.4186 | 4.6766 | 4.5476 | 0.18244 |  |  |  | 908 | -3.4106 | -3.5947 | -3.1325 | -3.3792 | 0.23271
| 909 | 4.7375 | 4.5373 | 4.6374 | 0.14158 |  |  |  | 909 | -3.5695 | -3.4551 | -3.3907 | -3.4718 | 0.09056
| 910 | 4.5781 | 4.6368 | 4.6074 | 0.041537 |  |  |  | 910 | -3.4702 | -3.3355 | -3.9868 | -3.5975 | 0.34376
| 911 | 4.4784 | 4.2388 | 4.3586 | 0.16942 |  |  |  | 911 | -3.5298 | -3.5349 | -3.2318 | -3.4322 | 0.17354
| 912 | 4.5183 | 4.597 | 4.5576 | 0.055679 |  |  |  | 912 | -3.7086 | -3.515 | -3.6291 | -3.6176 | 0.097347
| 913 | 4.598 | 3.8408 | 4.2194 | 0.53543 |  |  |  | 913 | -3.8477 | -3.7741 | -3.9868 | -3.8695 | 0.108
| 914 | 4.4585 | 4.4179 | 4.4382 | 0.028681 |  |  |  | 914 | -3.5099 | -3.6944 | -3.7285 | -3.6443 | 0.11757
| 915 | 4.4385 | 4.2587 | 4.3486 | 0.12716 |  |  |  | 915 | -4.0464 | -3.5947 | -3.5695 | -3.7369 | 0.26833
| 916 | 4.1196 | 4.1393 | 4.1295 | 0.013932 |  |  |  | 916 | -3.3709 | -4.093 | -3.4305 | -3.6314 | 0.40084
| 917 | 4 | 4.0199 | 4.01 | 0.014072 |  |  |  | 917 | -3.1722 | -3.3754 | -3.8874 | -3.4783 | 0.36856
| 918 | 3.9402 | 3.5224 | 3.7313 | 0.29544 |  |  |  | 918 | -4.2848 | -3.8339 | -4.0265 | -4.0484 | 0.22624
| 919 | 3.9801 | 3.9801 | 3.9801 | 2.3375e-05 |  |  |  | 919 | -4.702 | -3.7143 | -3.9868 | -4.1343 | 0.51012
| 920 | 4.0797 | 3.6816 | 3.8807 | 0.28153 |  |  |  | 920 | -3.8079 | -3.5748 | -4.404 | -3.9289 | 0.42764
| 921 | 4.0997 | 3.4229 | 3.7613 | 0.47856 |  |  |  | 921 | -3.7086 | -4.2724 | -4.1457 | -4.0422 | 0.2958
| 922 | 3.6611 | 3.403 | 3.5321 | 0.18254 |  |  |  | 922 | -3.7086 | -3.7741 | -4.702 | -4.0616 | 0.55559
| 923 | 4.0199 | 3.4229 | 3.7214 | 0.42218 |  |  |  | 923 | -4.2848 | -4.3123 | -4.7616 | -4.4529 | 0.2677
| 924 | 3.2027 | 3.7413 | 3.472 | 0.38087 |  |  |  | 924 | -4.5232 | -4.3721 | -4.8609 | -4.5854 | 0.25029
| 925 | 3.6013 | 3.6816 | 3.6415 | 0.056755 |  |  |  | 925 | -4.4238 | -4.4917 | -3.8874 | -4.2677 | 0.33104
| 926 | 3.7409 | 3.6617 | 3.7013 | 0.055983 |  |  |  | 926 | -4.0464 | -4.5914 | -4.543 | -4.3936 | 0.30168
| 927 | 3.5415 | 3.4428 | 3.4922 | 0.069821 |  |  |  | 927 | -3.9073 | -3.6944 | -4.404 | -4.0019 | 0.36414
| 928 | 3.3223 | 3.2239 | 3.2731 | 0.069564 |  |  |  | 928 | -4.5828 | -4.4718 | -4.0464 | -4.367 | 0.28315
X1
X2
Y-AXIS
Linear
Y1
Y2
Y1
Y2

## Sheet2
Frequency (MHz) | VSWR | VSWR | VSWR
900 | 1.5582 | 1.441 | 1.4662
901 | 1.4758 | 1.3247 | 1.3094
902 | 1.6685 | 1.3856 | 1.3085
903 | 1.678 | 1.3061 | 1.3055
904 | 1.7142 | 1.384 | 1.2567
905 | 1.5407 | 1.2951 | 1.2924
906 | 1.6851 | 1.4414 | 1.3282
907 | 1.8295 | 1.5878 | 1.3416
908 | 1.4143 | 1.3819 | 1.246
909 | 1.5658 | 1.6224 | 1.1505
910 | 1.5547 | 1.5491 | 1.4066
911 | 1.5339 | 1.5316 | 1.3611
912 | 1.5763 | 1.2826 | 1.3156
913 | 1.6171 | 1.4659 | 1.3125
914 | 1.8636 | 1.5798 | 1.3669
915 | 1.8255 | 1.3495 | 1.3169
916 | 1.8728 | 1.3762 | 1.3358
917 | 2.1286 | 1.6861 | 1.469
918 | 2.2779 | 1.8012 | 1.235
919 | 1.9901 | 1.5867 | 1.0538
920 | 1.9809 | 1.1977 | 1.1673
921 | 2.0916 | 1.6911 | 1.3498
922 | 1.6053 | 1.5205 | 1.4423
923 | 1.7843 | 1.6509 | 1.5492
924 | 1.6333 | 1.1897 | 1.4
925 | 1.1968 | 1.28 | 1.35
926 | 1.6702 | 1.3207 | 1.3184
927 | 1.8169 | 1.3183 | 1.3243
928 | 1.6755 | 1.2654 | 1.3243